## 1908001
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908001
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 1.6 | micron | 1.9 | micron | 1.9 | micron
R(99)=4Micron |  | 1.8 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908002
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908002
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.9 | micron | 2.6 | micron | 1.4 | micron | 1.8 | micron
R(99)=4Micron |  | 1.925 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908003
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908003
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.2 | micron | 1.4 | micron | 2.1 | micron | 2.7 | micron
R(99)=4Micron |  | 2.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908004
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908004
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.5 | micron | 1.8 | micron | 2.1 | micron | 1.2 | micron
R(100)=4Micron |  | 1.9 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908005
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908005
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.4 | micron | 2.5 | micron | 1.7 | micron | 1.7 | micron
R(100)=4Micron |  | 1.825 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908006
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908006
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.1 | micron | 1.2 | micron | 2.6 | micron | 1.6 | micron
R(100)=4Micron |  | 1.875 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908007
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908007
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.6 | micron | 1 | micron | 3.2 | micron | 3.4 | micron
R(100)=4Micron |  | 2.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908008
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908008
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.5 | micron | 1.5 | micron | 1.6 | micron | 3.2 | micron
R(100)=4Micron |  | 1.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908009
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908009
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.7 | micron | 1.4 | micron | 1.2 | micron | 2.4 | micron
R(100)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908010
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908010
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2 | micron | 1.3 | micron | 1.5 | micron | 1.7 | micron
R(100)=4Micron |  | 1.625 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908011
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908011
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.4 | micron | 1.3 | micron | 0.9 | micron | 1.8 | micron
R(100)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908012
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908012
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.8 | micron | 1.5 | micron | 1.9 | micron | 1.9 | micron
R(100)=4Micron |  | 1.775 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908013
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908013
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.7 | micron | 1.8 | micron | 1.9 | micron | 1.7 | micron
R(100)=4Micron |  | 1.775 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908014
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908014
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.4 | micron | 2.6 | micron | 1 | micron | 1.7 | micron
R(100)=4Micron |  | 1.925 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 19080015
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908015
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.9 | micron | 1.3 | micron | 0.8 | micron | 2.1 | micron
R(100)=4Micron |  | 1.525 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908016
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908016
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 0.9 | micron | 1.6 | micron | 3.1 | micron | 1.2 | micron
R(100)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908017
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908017
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.8 | micron | 1.1 | micron | 2 | micron | 2.4 | micron
R(100)=4Micron |  | 1.825 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908018
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908018
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.9 | micron | 1.2 | micron | 2 | micron | 1.5 | micron
R(100)=4Micron |  | 1.65 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908019
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908019
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.8 | micron | 1.8 | micron | 2.8 | micron | 1.8 | micron
R(100)=4Micron |  | 2.05 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908020
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908020
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.7 | micron | 1.5 | micron
R(100)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908021
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908021
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.3 | micron | 2.6 | micron | 2.6 | micron | 2.6 | micron
R(100)=4Micron |  | 2.525 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908022
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908022
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.5 | micron | 2.2 | micron | 0.9 | micron | 1.6 | micron
R(100)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908023
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908023
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.3 | micron | 1.3 | micron | 1.7 | micron | 1.4 | micron
R(100)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908024
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908024
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.4 | micron | 1.5 | micron | 1.6 | micron | 1.5 | micron
R(100)=4Micron |  | 1.75 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908025
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908025
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.3 | micron | 2.2 | micron | 2.8 | micron | 1.4 | micron
R(100)=4Micron |  | 2.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908026
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908026
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.8 | micron | 2.3 | micron | 2.2 | micron | 2 | micron
R(100)=4Micron |  | 2.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908027
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908027
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.4 | micron | 1.4 | micron | 1.2 | micron | 1.5 | micron
R(100)=4Micron |  | 1.625 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908028
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908028
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1.5 | micron | 2.8 | micron | 1.7 | micron | 1.9 | micron
R(100)=4Micron |  | 1.975 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03

## 1908029
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 1908029
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 2.6 | micron | 2.4 | micron | 1 | micron | 1.7 | micron
R(100)=4Micron |  | 1.925 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2019-08-03