## 2011001
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011001
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.8 | micron | 1.1 | micron | 1.4 | micron | 0.9 | micron
R(99)=4Micron |  | 1.05 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011002
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011002
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.5 | micron | 0.9 | micron | 1.5 | micron
R(99)=4Micron |  | 1.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011003
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011003
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.4 | micron | 0.9 | micron | 1 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011004
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011004
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.9 | micron | 1.1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011005
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011005
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.3 | micron | 2.1 | micron | 0.9 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011006
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011006
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 2.1 | micron | 1.1 | micron | 1 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011007
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011007
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.1 | micron | 1.5 | micron
R(99)=4Micron |  | 1.3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011008
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011008
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.5 | micron | 1.7 | micron | 2.7 | micron
R(99)=4Micron |  | 1.8 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011009
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011009
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 2.7 | micron | 0.8 | micron | 2 | micron
R(99)=4Micron |  | 1.625 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011010
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011010
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.3 | micron | 1.3 | micron | 1.2 | micron
R(99)=4Micron |  | 1.375 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011011
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011011
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 2.3 | micron | 0.6 | micron
R(99)=4Micron |  | 1.3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011012
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011012
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.1 | micron | 1.6 | micron | 1.3 | micron | 2.9 | micron
R(99)=4Micron |  | 1.975 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011013
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011013
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.6 | micron | 2.4 | micron | 2.7 | micron
R(99)=4Micron |  | 1.975 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011014
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011014
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 2.8 | micron | 2.9 | micron | 3 | micron
R(99)=4Micron |  | 2.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011015
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011015
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.3 | micron | 0.8 | micron | 0.8 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011016
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011016
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.1 | micron | 2 | micron | 0.9 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011017
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011017
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 3.9 | micron | 3.2 | micron | 1.2 | micron
R(99)=4Micron |  | 2.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011018
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011018
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 1.6 | micron | 1 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011019
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011019
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.4 | micron | 1.2 | micron | 2.6 | micron
R(99)=4Micron |  | 1.6 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011020
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011020
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 0.9 | micron | 1.1 | micron | 1.4 | micron
R(99)=4Micron |  | 1.15 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011021
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011021
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 2.3 | micron | 3.6 | micron | 2.7 | micron
R(99)=4Micron |  | 2.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011022
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011022
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.2 | micron | 2.3 | micron | 2.5 | micron
R(99)=4Micron |  | 1.8 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011023
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011023
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.6 | micron | 0.9 | micron | 2.7 | micron
R(99)=4Micron |  | 1.65 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011024
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011024
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 2.3 | micron | 2.3 | micron | 1.6 | micron
R(99)=4Micron |  | 1.825 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011025
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011025
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.4 | micron | 1.2 | micron | 1.9 | micron
R(99)=4Micron |  | 1.375 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011026
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011026
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.5 | micron | 1 | micron | 1.7 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011027
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011027
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 2.4 | micron | 1.4 | micron | 0.9 | micron
R(99)=4Micron |  | 1.475 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011028
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011028
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.8 | micron | 2.5 | micron | 1.4 | micron | 1.3 | micron
R(99)=4Micron |  | 1.5 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011029
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011029
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.7 | micron | 3 | micron | 1.1 | micron
R(99)=4Micron |  | 2.025 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011030
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011030
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.7 | micron | 2.6 | micron | 0.8 | micron | 2.1 | micron
R(99)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011031
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011031
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1 | micron | 2.1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011032
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011032
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.7 | micron | 1.7 | micron | 0.6 | micron | 1.8 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011033
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011033
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.8 | micron | 1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09

## 2011034
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2011034
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.2 | micron | 0.8 | micron | 0.7 | micron
R(99)=4Micron |  | 0.975 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-11-09