## 2007001
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007001
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.4 | micron | 1.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007002
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007002
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 2.8 | micron | 3.1 | micron | 1 | micron
R(99)=4Micron |  | 2 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007003
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007003
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 2.3 | micron | 2.2 | micron | 1.5 | micron
R(99)=4Micron |  | 1.775 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007004
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007004
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.7 | micron | 2.7 | micron | 1.9 | micron | 2.7 | micron
R(99)=4Micron |  | 2.5 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007005
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007005
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.2 | micron | 1.2 | micron | 4 | micron | 3 | micron
R(99)=4Micron |  | 2.6 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007006
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007006
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 3 | micron | 1.6 | micron | 0.8 | micron
R(99)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007007
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007007
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.3 | micron | 3.3 | micron | 3.9 | micron
R(99)=4Micron |  | 2.725
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007008
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007008
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 2.1 | micron | 1.4 | micron | 1.6 | micron
R(99)=4Micron |  | 1.65 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007009
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007009
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.8 | micron | 3.8 | micron | 2.7 | micron | 0.8 | micron
R(99)=4Micron |  | 2.025 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007010
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007010
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.2 | micron | 1.7 | micron | 2.2 | micron
R(99)=4Micron |  | 1.85 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007011
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007011
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 1.3 | micron | 1.7 | micron | 1.1 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007012
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007012
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 3.1 | micron | 3.5 | micron | 1.9 | micron
R(99)=4Micron |  | 2.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007013
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007013
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.4 | micron | 2.1 | micron | 1.2 | micron | 1.4 | micron
R(99)=4Micron |  | 1.775 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007014
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007014
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 3.6 | micron | 2.1 | micron | 1.5 | micron
R(99)=4Micron |  | 2.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007015
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007015
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2 | micron | 1.7 | micron | 3.4 | micron | 2.7 | micron
R(99)=4Micron |  | 2.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007016
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007016
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.8 | micron | 1.7 | micron | 2.7 | micron
R(99)=4Micron |  | 2.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007017
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007017
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.1 | micron | 2.1 | micron | 1 | micron
R(99)=4Micron |  | 1.65 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007018
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007018
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.8 | micron | 3.2 | micron | 1.5 | micron
R(99)=4Micron |  | 1.875 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007019
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007019
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.3 | micron | 2.3 | micron | 1.5 | micron
R(99)=4Micron |  | 1.875 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007020
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007020
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.9 | micron | 1.2 | micron | 1.6 | micron | 1.8 | micron
R(99)=4Micron |  | 1.625 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007021
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007021
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.9 | micron | 0.9 | micron | 3.4 | micron | 1.6 | micron
R(99)=4Micron |  | 2.2 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007022
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007022
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 2.2 | micron | 3.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007023
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007023
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.3 | micron | 1.9 | micron | 1.4 | micron
R(99)=4Micron |  | 1.525 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007024
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007024
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.2 | micron | 2 | micron | 3.3 | micron | 3.1 | micron
R(99)=4Micron |  | 2.65 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007025
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007025
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 2.3 | micron | 2.4 | micron | 2.7 | micron
R(99)=4Micron |  | 2.3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007026
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007026
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.7 | micron | 1.6 | micron | 2.9 | micron | 3.5 | micron
R(99)=4Micron |  | 2.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007027
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007027
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.7 | micron | 1.6 | micron | 1.1 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007028
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007028
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2 | micron | 1.7 | micron | 3.8 | micron | 1.1 | micron
R(99)=4Micron |  | 2.15 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007029
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007029
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 3 | micron | 0.9 | micron | 2.3 | micron | 1.4 | micron
R(99)=4Micron |  | 1.9 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007030
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007030
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 3.1 | micron | 3.2 | micron | 2.9 | micron | 1.1 | micron
R(99)=4Micron |  | 2.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007031
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007031
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2 | micron | 1.1 | micron | 2.5 | micron
R(99)=4Micron |  | 1.75 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007032
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007032
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.2 | micron | 1.2 | micron | 2.9 | micron | 0.9 | micron
R(99)=4Micron |  | 1.8 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007033
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007033
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 4 | micron | 1.6 | micron | 1.3 | micron
R(99)=4Micron |  | 2.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007034
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007034
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.8 | micron | 1.6 | micron | 1.7 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007035
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007035
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 2.8 | micron | 1 | micron | 1 | micron
R(99)=4Micron |  | 1.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007036
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007036
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 3.8 | micron | 1.6 | micron | 1.3 | micron
R(99)=4Micron |  | 1.975 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007037
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007037
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 2.2 | micron | 3.7 | micron | 1.4 | micron
R(99)=4Micron |  | 2.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007038
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007038
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.4 | micron | 1.7 | micron | 1.6 | micron
R(99)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007039
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007039
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.7 | micron | 0.9 | micron | 1.4 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007040
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 1 | micron | 1.4 | micron | 0.7 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007041
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007041
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.3 | micron | 2.9 | micron | 1.1 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007042
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007042
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.9 | micron | 3.2 | micron | 1.3 | micron | 1.6 | micron
R(99)=4Micron |  | 2.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007043
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007043
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 2.7 | micron | 2.4 | micron | 1.2 | micron
R(99)=4Micron |  | 1.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007044
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007044
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.3 | micron | 1.7 | micron | 1.1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007045
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007045
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.1 | micron | 1.7 | micron | 1.2 | micron
R(99)=4Micron |  | 1.6 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007046
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007046
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1 | micron | 1.9 | micron | 1.3 | micron
R(99)=4Micron |  | 1.425 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007047
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007047
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1 | micron | 2.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007048
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007048
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.6 | micron | 1.9 | micron | 1.1 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007049
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007049
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.1 | micron | 2.3 | micron | 1.5 | micron
R(99)=4Micron |  | 1.8 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14

## 2007050
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2007050
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 3.4 | micron | 1.2 | micron | 2.1 | micron
R(99)=4Micron |  | 2.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2020-07-14