## 2104001
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104001
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 0.8 | micron | 1.3 | micron | 1.1 | micron
R(99)=4Micron |  | 1.025 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104002
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104002
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1 | micron | 1.3 | micron | 1.1 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104003
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104003
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 0.8 | micron | 1.3 | micron | 0.8 | micron
R(99)=4Micron |  | 1.025 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104004
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104004
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 1.2 | micron | 1.8 | micron | 1.2 | micron
R(99)=4Micron |  | 1.5 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104005
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104005
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 0.8 | micron | 1.3 | micron | 0.9 | micron
R(99)=4Micron |  | 1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104006
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104006
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.2 | micron | 1.3 | micron | 1.5 | micron
R(99)=4Micron |  | 1.425 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104007
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104007
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times |  |  |  |  | \
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 0.9 | micron | 1.1 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104008
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104008
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.5 | micron | 2.5 | micron | 1.5 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104009
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104009
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.2 | micron | 1.1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104010
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104010
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1 | micron | 1.4 | micron | 2 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104011
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104011
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.2 | micron | 2.7 | micron | 1.3 | micron
R(99)=4Micron |  | 1.6 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104012
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104012
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 1.4 | micron | 0.8 | micron | 3 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104013
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104013
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104014
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104014
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.4 | micron | 1 | micron | 0.9 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104015
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104015
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.4 | micron | 1.1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104016
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104016
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.6 | micron | 1.4 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104017
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104017
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.8 | micron | 2.5 | micron | 1.2 | micron | 1.1 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104018
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104018
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.1 | micron | 1 | micron | 1.7 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104019
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104019
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 2.3 | micron | 2.6 | micron | 2.1 | micron
R(99)=4Micron |  | 2.025 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104020
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104020
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.7 | micron | 1.2 | micron | 1.5 | micron
R(99)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104021
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104021
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.4 | micron | 2 | micron | 1.3 | micron
R(99)=4Micron |  | 1.475 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104022
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104022
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.9 | micron | 1.1 | micron | 1.5 | micron | 1.3 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104023
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104023
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.3 | micron | 0.9 | micron | 1.2 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104024
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104024
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 2.3 | micron | 1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104025
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104025
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.1 | micron | 0.8 | micron | 1.1 | micron
R(99)=4Micron |  | 1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104026
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104026
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.3 | micron | 0.9 | micron | 1 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104027
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104027
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 0.8 | micron | 1.4 | micron | 1 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104028
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104028
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.5 | micron | 0.9 | micron | 2 | micron
R(99)=4Micron |  | 1.375 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104029
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104029
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1 | micron | 1.2 | micron | 1.7 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104030
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104030
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.2 | micron | 1.3 | micron | 1.5 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104031
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104031
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.1 | micron | 1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104032
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104032
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.1 | micron | 1.5 | micron | 2.1 | micron
R(99)=4Micron |  | 1.5 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104033
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104033
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.1 | micron | 1.1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104034
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104034
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.1 | micron | 1 | micron | 1.6 | micron
R(99)=4Micron |  | 1.2 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104035
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104035
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 1.1 | micron | 2.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104036
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104036
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1 | micron | 1.2 | micron | 1.6 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104037
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104037
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 3 | micron | 1 | micron | 1.4 | micron
R(99)=4Micron |  | 1.725 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104038
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104038
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2 | micron | 0.9 | micron | 0.8 | micron | 2 | micron
R(99)=4Micron |  | 1.425 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104039
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104039
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.3 | micron | 0.8 | micron | 1.1 | micron
R(99)=4Micron |  | 1.05 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104040
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.3 | micron | 1.8 | micron | 1.1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104041
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104041
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 0.9 | micron | 0.7 | micron | 1.3 | micron
R(99)=4Micron |  | 1.05 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104042
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104042
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 0.9 | micron | 1.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104043
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104043
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.4 | micron | 1.1 | micron | 1.4 | micron
R(99)=4Micron |  | 1.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104044
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104044
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.4 | micron | 1.1 | micron | 1.7 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104045
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104045
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1 | micron | 0.8 | micron | 1 | micron
R(99)=4Micron |  | 1.05 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104046
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104046
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1 | micron | 1.1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104047
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104047
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 0.8 | micron | 0.9 | micron | 1.2 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104048
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104048
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.1 | micron | 0.7 | micron | 0.9 | micron
R(99)=4Micron |  | 1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104049
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104049
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 0.9 | micron | 0.8 | micron | 1.1 | micron
R(99)=4Micron |  | 0.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104050
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104050
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 1.3 | micron | 1.1 | micron | 1.7 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104051
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104051
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 0.7 | micron | 0.9 | micron | 1.1 | micron
R(99)=4Micron |  | 0.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104052
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104052
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.4 | micron | 1.1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104053
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104053
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.1 | micron | 2.8 | micron | 1 | micron
R(99)=4Micron |  | 1.475 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104054
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104054
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.15 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104055
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104055
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.1 | micron | 0.9 | micron | 1.2 | micron
R(99)=4Micron |  | 1.15 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104056
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104056
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104057
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104057
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.1 | micron | 1.2 | micron | 1 | micron
R(99)=4Micron |  | 1.15 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104058
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104058
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.3 | micron | 0.7 | micron | 1.7 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104059
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104059
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1 | micron | 0.8 | micron | 0.9 | micron
R(99)=4Micron |  | 0.925 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104060
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104060
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 2 | micron | 0.8 | micron | 1.3 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104061
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104061
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 0.9 | micron | 1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104062
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104062
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.5 | micron | 3.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.8 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104063
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104063
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 2.1 | micron | 0.9 | micron | 1.4 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104064
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104064
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.2 | micron | 1 | micron | 1 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104065
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104065
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1 | micron | 0.9 | micron | 1.3 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104066
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104066
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.3 | micron | 0.8 | micron | 1.1 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104067
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104067
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.3 | micron | 1.1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104068
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104068
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.8 | micron | 1.4 | micron | 1.3 | micron
R(99)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104069
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104069
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 1.9 | micron | 1.3 | micron | 1.8 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104070
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104070
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.2 | micron | 1.6 | micron | 1.4 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104071
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104071
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.1 | micron | 1.6 | micron | 1.4 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104072
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104072
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.4 | micron | 1 | micron | 1.6 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2104073
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2104073
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103074
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103075
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103076
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103077
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103078
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103079
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103080
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103081
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103082
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103083
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103084
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103085
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103086
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103087
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103088
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103089
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103090
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103091
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103092
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103046 (48)
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103046 (49)
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12

## 2103046 (50)
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-05-12