## Sheet1
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC30A001 |  |  | 2111021
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 0.9times
Direction |  | Y- |  | X+ |  | Y+ |  | X-
R(0.9)=4Micron |  | 0.9 | micron | 1.5 | micron | 0.9 | micron | 1.4 | micron
R(0.9)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | operator: KY Kim