## Sheet1
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | a |  |  | 123
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(100)=4Micron |  | 1 | micron | 2 | micron | 3 | micron | 4 | micron
R(100)=4Micron |  | 3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
2021-08-15 |  |  | TEST OK |  |  |  | operator: ML LEE