## 2106001
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106001
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 0.8 | micron | 0.9 | micron | 0.9 | micron
R(99)=4Micron |  | 0.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106002
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106002
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 0.9 | micron | 0.6 | micron | 1.4 | micron
R(99)=4Micron |  | 1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106003
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106003
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 0.9 | micron | 0.8 | micron | 0.7 | micron
R(99)=4Micron |  | 0.9 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106004
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106004
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.2 | micron | 0.8 | micron | 1.7 | micron
R(99)=4Micron |  | 1.3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106005
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106005
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106006
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106006
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.2 | micron | 1.2 | micron | 2.8 | micron
R(99)=4Micron |  | 1.6 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106007
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106007
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times |  |  |  |  | \
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 0.9 | micron | 1.1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106008
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106008
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.1 | micron | 1.9 | micron | 0.9 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106009
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106009
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1 | micron | 1.2 | micron | 1.2 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106010
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106010
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.4 | micron | 1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106011
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106011
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.3 | micron | 0.8 | micron | 1.6 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106012
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106012
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1 | micron | 1 | micron | 1.4 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106013
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106013
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.8 | micron | 0.9 | micron | 1.4 | micron
R(99)=4Micron |  | 1.375 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106014
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106014
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.3 | micron | 1.1 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106015
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106015
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 0.9 | micron | 1.4 | micron | 1.2 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106016
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106016
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 0.6 | micron | 2.3 | micron | 1.4 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106017
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106017
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 1.4 | micron | 1 | micron | 0.7 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106018
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106018
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1 | micron | 0.9 | micron | 1.4 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106019
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106019
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.4 | micron | 1.5 | micron | 1.2 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106020
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106020
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.1 | micron | 1.4 | micron | 1.1 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106021
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106021
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 1 | micron | 1 | micron | 0.8 | micron
R(99)=4Micron |  | 0.925 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106022
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106022
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.8 | micron | 1.5 | micron | 1.1 | micron | 1.4 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106023
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106023
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.1 | micron | 1.3 | micron | 1.6 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106024
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106024
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2 | micron | 1.6 | micron | 1 | micron
R(99)=4Micron |  | 1.5 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106025
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106025
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.2 | micron | 1.7 | micron | 1.1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106026
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106026
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.1 | micron | 1.3 | micron | 1.7 | micron | 0.8 | micron
R(99)=4Micron |  | 1.475 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106027
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106027
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 2 | micron | 0.9 | micron | 1.1 | micron
R(99)=4Micron |  | 1.3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106028
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106028
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 0.8 | micron | 1.1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.1 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106029
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106029
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 1.1 | micron | 1.2 | micron | 1.5 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106030
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106030
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.5 | micron | 1.1 | micron | 0.7 | micron
R(99)=4Micron |  | 1.2 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106031
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106031
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.4 | micron | 1.1 | micron | 0.8 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106032
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106032
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1 | micron | 1.5 | micron | 1.4 | micron
R(99)=4Micron |  | 1.3 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106033
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106033
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.8 | micron | 1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106034
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106034
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.2 | micron | 1.6 | micron | 1.2 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106035
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106035
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.9 | micron | 1.2 | micron | 1 | micron | 1.6 | micron
R(99)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106036
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106036
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.8 | micron | 1.3 | micron | 1 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106037
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106037
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.7 | micron | 1.7 | micron | 1.1 | micron
R(99)=4Micron |  | 1.425 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106038
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106038
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.7 | micron | 1 | micron | 1 | micron | 1.8 | micron
R(99)=4Micron |  | 1.625 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106039
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106039
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.8 | micron | 1.5 | micron | 1.6 | micron | 2.1 | micron
R(99)=4Micron |  | 1.75 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106040
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106040
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.7 | micron | 1.4 | micron | 1.6 | micron
R(99)=4Micron |  | 1.475 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106041
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106041
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.2 | micron | 1.5 | micron | 1.1 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106042
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106042
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2 | micron | 1.4 | micron | 0.9 | micron | 1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106043
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106043
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 0.9 | micron | 0.8 | micron | 1.8 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106044
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106044
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 0.9 | micron | 0.9 | micron | 1.1 | micron
R(99)=4Micron |  | 1.125 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106045
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106045
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.3 | micron | 0.8 | micron | 1.9 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106046
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106046
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.6 | micron | 1.2 | micron | 0.9 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106047
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106047
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.4 | micron | 1.4 | micron | 1.6 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106048
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106048
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1 | micron | 1.2 | micron | 1 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106049
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106049
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.2 | micron | 1.6 | micron | 1.2 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106050
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106050
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.2 | micron | 0.9 | micron | 1.8 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106051
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106051
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.3 | micron | 1 | micron | 1.1 | micron
R(99)=4Micron |  | 1.15 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106052
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106052
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.9 | micron | 0.9 | micron | 1.7 | micron | 1.2 | micron
R(99)=4Micron |  | 1.425 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106053
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106053
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.5 | micron | 1.6 | micron | 1 | micron | 1.6 | micron
R(99)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106054
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106054
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1 | micron | 1.5 | micron | 1.6 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106055
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106055
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 0.7 | micron | 1.3 | micron | 2.8 | micron
R(99)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106056
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106056
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 1 | micron | 0.8 | micron
R(99)=4Micron |  | 1.025 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106057
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106057
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.2 | micron | 0.8 | micron | 1.2 | micron
R(99)=4Micron |  | 1.05 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106058
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106058
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 1.3 | micron | 1.3 | micron | 1.1 | micron
R(99)=4Micron |  | 1.325 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106059
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106059
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.9 | micron | 1.5 | micron | 1 | micron
R(99)=4Micron |  | 1.475 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106060
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106060
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.7 | micron | 1 | micron | 1.1 | micron | 1.5 | micron
R(99)=4Micron |  | 1.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106061
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106061
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 0.7 | micron | 2.6 | micron | 1.4 | micron
R(99)=4Micron |  | 1.575 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106062
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106062
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1 | micron | 1 | micron | 0.9 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106063
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106063
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 1 | micron | 1.3 | micron | 1.2 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106064
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106064
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 1.2 | micron | 1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106065
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106065
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 0.9 | micron | 1.4 | micron | 1.6 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106066
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106066
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.1 | micron | 1.6 | micron | 2 | micron | 1.1 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106067
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106067
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 2.1 | micron | 1.2 | micron | 1.4 | micron
R(99)=4Micron |  | 1.525 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106068
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106068
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 1.3 | micron | 1 | micron | 1.3 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106069
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106069
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.1 | micron | 1.7 | micron | 1.5 | micron
R(99)=4Micron |  | 1.45 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106070
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106070
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.2 | micron | 2 | micron | 1.3 | micron
R(99)=4Micron |  | 1.7 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106071
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106071
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 0.9 | micron | 1.6 | micron | 1.2 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106072
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106072
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 0.8 | micron | 1.2 | micron
R(99)=4Micron |  | 1.075 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106073
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106073
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 0.5 | micron | 1 | micron | 1.2 | micron
R(99)=4Micron |  | 0.925 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106074
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106074
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 1.8 | micron | 1.5 | micron
R(99)=4Micron |  | 1.4 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106075
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106075
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1 | micron | 1.1 | micron | 1.7 | micron | 1.2 | micron
R(99)=4Micron |  | 1.25 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106076
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106076
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 1.1 | micron | 1.1 | micron | 1.2 | micron
R(99)=4Micron |  | 1.275 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106077
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106077
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.6 | micron | 1.1 | micron | 1 | micron | 1.7 | micron
R(99)=4Micron |  | 1.35 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106078
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106078
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 0.9 | micron | 1.2 | micron | 1.3 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106079
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106079
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.7 | micron | 2.2 | micron | 0.9 | micron | 2.1 | micron
R(99)=4Micron |  | 1.725 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106080
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106080
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.7 | micron | 1.4 | micron | 2.4 | micron | 1.3 | micron
R(99)=4Micron |  | 1.95 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106081
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106081
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.2 | micron | 1.1 | micron | 2.8 | micron | 1 | micron
R(99)=4Micron |  | 1.525 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106082
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106082
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.4 | micron | 1.3 | micron | 1.2 | micron | 1 | micron
R(99)=4Micron |  | 1.225 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106083
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106083
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 0.9 | micron | 2.5 | micron | 1.8 | micron | 1.4 | micron
R(99)=4Micron |  | 1.65 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106084
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106084
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 1.1 | micron | 0.8 | micron | 1.3 | micron
R(99)=4Micron |  | 1.175 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106085
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106085
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.3 | micron | 2.8 | micron | 1.5 | micron | 1.1 | micron
R(99)=4Micron |  | 1.675 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106086
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106086
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 2.2 | micron | 1.4 | micron | 0.9 | micron | 1.6 | micron
R(99)=4Micron |  | 1.525 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106087
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106087
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  | 1.5 | micron | 0.9 | micron | 2.8 | micron | 1 | micron
R(99)=4Micron |  | 1.55 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2106088
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 2106088
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103089
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21060
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103090
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21060
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103091
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21060
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103092
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21060
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103046 (48)
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21050
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103046 (49)
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21050
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17

## 2103046 (50)
INSPECTION SHEET
|  | Probe Model |  | Code |  |  | Serial
|  | Touch Sensor |  | SC3011111 |  |  | 21050
TEST CYCLE DESCRIPTION
Cycle sequence: X+ X- Z+ Z- touch direction repeated 100times
Direction |  | X+ |  | X- |  | Y+ |  | Y-
R(99)=4Micron |  |  | micron |  | micron |  | micron |  | micron
R(99)=4Micron |  | 0 |  |  |  | micron
Un direct direction |  | Z- |  |  |  | Dia
|  | Micron |  |  |  | Micron
|  |  | TEST OK |  |  |  | 2021-06-17